## NIQ-TVR PAC to ST misc work
O/o The Sub Divisional Engineer (E),
BSNL Electrical Sub Division -III
KK Nagar Telephone Exchange
KK Nagar
Chennai-600078
NO: 23(TVR) /SDE(E)/ESD-III/CH/ dt 12/04/2021
NOTICE INVITING QUOTATION
The Sub Divisional Engineer (E),BSNL Electrical Sub-Division -III,BSNL, Telephone Exchange ,KK Nagar,Chennai-78 , on behalf of the Bharat Sanchar Nigam Limited, is hereby inviting sealed item rate quotations upto 1500 hours on 19/04/2021 from eligible contractors for the following works.The quotations will be opened on the same day at 15:30Hrs
Name of Work : Replacement of 3 x 7 TR PAC units by 4 x 1.5 TR Split AC units for the proposed NGN Switch room in TE Thiruvallur.(SW: Return/supply air duct closing and misc work)
Srno | Description | Qty | Rate | Unit | Amount
1 | Closing of Return/supply Air grill and other oepning area in false ceiling with 6mm thick cement sheet with necessary cutting/drilling etc.as reqd. | 3.48 |  | Sqm
2 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, C-curve, mininature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc as required.(MK: BSNL approved make) a.Single pole | 7 |  | each
3 | Supplying and making end termination with brass compression gland and aluminium lugs for 4x25Sqmm Al UG cable with all accessories etc as reqd | 2 |  | set
Add GST@18% on total
Total
Say
CONTRACTOR SUB DIVISIONAL ENGINEER(E)